## Slide 1: Introduction To Groundwater Assessment and Remediation edition 2 A LORAX Animated Information System
Curtis Stanley - Shell Global Solutions (US), Inc.
Use this area for cover image (height 6.5cm, width 8cm)

## Slide 2: Purpose of This Slide Pack
Describe the Shell/LORAX Animated Information System (AIS) for Groundwater Assessment and Remediation
Provide basic instruction on use of the AIS
Discuss how the AIS can be effectively used

## Slide 3: What is the AIS?
An interactive animated tool to help conceptualize basic elements of hydrogeology, site assessment, contaminant migration, remediation, and UST systems
Focuses on petroleum releases from USTs, but has much broader applicability
This tool addresses issues that are common to most sites, but
can not be modified to illustrate site-specific conditions
It can, however, be used as a platform to introduce key concepts related to a site or important regulatory concerns

## Slide 4: What topics does the AIS (Edition 2) Address?
The AIS is designed to convey a basic understanding of:
    Hydrogeology
      Unconfined/Confined Aquifers, Aquitards, Perched Zones
      Groundwater Flow Gradients and Velocity
    Contaminant Migration
      Key processes such as Retardation and Biodegradation (including degradation rates/half-life)
      Includes sections on NAPL Considerations and Petroleum Vapor Intrusion
    Site Investigation
    Groundwater Vulnerability
    Various Remediation Technologies (now includes Land Farming)
      Includes sections on Generic Spill Response and Risk-Based Corrective Action/Sustainable Remediation
    Tanks
      UST Systems (suction and pressurized systems)
New in Edition 2

## Slide 5: How can the AIS be Used?
    To facilitate understanding and alignment on key issues with project managers and consultants
    To facilitate advocacy with regulators
    To facilitate awareness of key issues by various external stakeholders (e.g., the public) involved with a project
    To facilitate management’s understanding of key issues related to soil and groundwater contamination
    As a teaching tool for use by companies, regulators, schools and universities

## Slide 6: Key Aspects of the AIS
  There are 5 major modules consisting of 1) Hydrogeology, 2) Concepts, 3) Vulnerability, 4) Remediation, and 5) Tanks
  Each module contains hidden buttons that the user can use (or not use) depending upon the audience
  The inclusion of the modules and hidden buttons helps the user tailor the presentation to a particular audience
  The AIS is intended to be utilized by a knowledgeable user in order to most effectively convey information to the target audience.
  Training is required in order to effectively use the AIS

## Slide 7: Running the TOOL
The AIS is programmed in Adobe Flash and can run on most PCs (but has not yet been programmed to run well on Apple machines)
The program consists of ≈ 450 megabytes of files and should be downloaded to a folder on the hard drive in order to run effectively
  The animations do not lend themselves to net meetings since the computer screen cannot resolve the animation quickly enough over the internet

## Slide 8: Save and Launch the Ais from your computer
Double Click the .exe file to start

## Slide 9: Disclaimer
After reading the disclaimer, click the disclaimer box and then click continue

## Slide 10: Start Page
New
users should review all training modules prior to running the program from the Main Page
Training Modules

## Slide 11: Training modules
Introduction
  Welcome and general considerations
Quick Overview
  Basic use of the AIS tool
Detailed Overview
Hydrogeology Tutorial
  Demonstrates effective navigation through the AIS
Running through each training section will facilitate the use and understanding of the AIS
Subscripts in various languages are available for each training tab
The videos associated with each training tab are based on Edition 1 of the AIS and are still applicable for this version.

## Slide 12: Use of subscripts with training modules
Select the appropriate training tab from the Start screen
A language bar will appear (as shown)
Select the desired language
The language bar will minimize and the desired language flag will be displayed in the lower right of the screen
Click the play button on the lower toolbar to start the video
Subscripts will appear above the lower toolbar
Click on the “Back to Options” button on the top right to return to the start page

## Slide 13: Main Page – Drop-Down Toolbar
Clicking on the LORAX logo will always take you back to the Start Page
Drop-down toolbar can be accessed by moving the cursor to the top of the screen
Hidden button mode

## Slide 14: Hydrogeology Section – Drop-Down Menu

## Slide 15: Typical Screen
Clicking on the right half of the screen will advance to the next slide
Clicking on the left half of the screen will move back one slide

## Slide 16: Hidden Buttons
Hidden buttons can be shown on a grayed-out screen by clicking on the ? on the upper drop-down bar
This drop-down bar is hidden until the cursor is moved to the top of the screen
It is a good idea to initially go through all screens in this mode
Clicking on the ? again will return the screen to normal operating mode
Moving the cursor to the hidden button target zone (invisible in normal mode) and clicking will open new material

## Slide 17: Drilling Logistics example

## Slide 18: Concepts Section – Drop-Down menu

## Slide 19: Biodegradation Example

## Slide 20: Vulnerability Section - Contaminants

## Slide 21: Vulnerability Section – Groundwater Zones

## Slide 22: Remediation Section – Drop-Down Menu

## Slide 23: Remediation – pump & Treat (Hydraulic Containment)

## Slide 24: Generic spill response - Project Timeline

## Slide 25: Tanks Section – Typical Site (Above ground)

## Slide 26: Tanks Section – Typical Site (below ground)

## Slide 27: Tanks Section – Tank SUMP (X-RAY View)

## Slide 28: Shortcuts Section – drop-down menu

## Slide 29: About Section – drop-down menu

## Slide 30: Final Considerations
  The AIS is publicly available
  This tool is intended for the benefit of the general public and should not be used for financial gain.
  This material is copyrighted by Shell and LORAX and must not be altered without Shell’s approval
  A knowledgeable user should run through this program several times in order to become familiar with both the technical content and functionality
  A trained user can adjust how the AIS is used to fit any audience